## 19V33-HZ213EL2_2900_600
[Panel Mapper]
Version="Version 3.3.0"
Date="5/20/2021 10:14:02 AM"
[Measurement Information]
Scan Start Time=3704317863.8
Scan Completion Time=3704321572.9
Recipe No=104
Manual Measurement=TRUE
GlassID=[Empty]
Operator ID=05842
Scan Start Time String="5/20/2021 9:11:03 AM"
Scan Completion Time String="5/20/2021 10:12:52 AM"
[LCD Measurement Settings]
Number to Average at Each Point=16
List of WLs=589.0
Tilt rotation angles.<size(s)>=10
Tilt rotation angles 0=0.0 | -40
Tilt rotation angles 1=0.0 | -20
Tilt rotation angles 2=0.0 | 0
Tilt rotation angles 3=0.0 | 20
Tilt rotation angles 4=0.0 | 40
Tilt rotation angles 5=90.0 | 40
Tilt rotation angles 6=90.0 | 20
Tilt rotation angles 7=90.0 | 0 | [11 empty] | 位置 |  | AXO |  |  |  |  | RETS
Tilt rotation angles 8=90.0 | -20 | [13 empty] | max | min | max-中心 | min-中心 | max-min | max | min | max-中心 | min-中心 | max-min
Tilt rotation angles 9=90.0 | -40 | [9 empty] | GOP上 | 左 | 右 | 上 | 2.8633 | 2.777 | 0.080369 | -0.0059632 | 0.086332 | 2.817 | 2.778 | 0.034 | -0.005 | 0.039
[LCD Data] | [11 empty] | 右 |  | 下 | 2.8718 | 2.7991 | 0.088882 | 0.016189 | 0.072693 | 2.816 | 2.791 | 0.033 | 0.008 | 0.025
Chip No. | x (mm) | y (mm) | cell gap (um) | top R/D (? | twist (? | top pre-tilt (? | bottom pre-tilt (? | Rms (%) | Iterations |  | GOP中 | 左 | 中 | 上 | 2.9088 | 2.7703 | 0.12587 | -0.012652 | 0.13853 | 2.838 | 2.767 | 0.055 | -0.016 | 0.071
1 | 110 | 88 | 2.7888 | -89.799 | -0.35871 | 0.2179 | 0.28437 | 0.23489 | 95 | 中心 |  | 右 |  | 下 | 2.9225 | 2.8003 | 0.13952 | 0.017314 | 0.1222 | 2.826 | 2.797 | 0.043 | 0.014 | 0.029
1 | 120 | 88 | 2.7852 | -89.8334 | -0.30683 | 0.17272 | 0.29419 | 0.23603 | 90 |  | GOP下 | 左 | 左 | 上 | 2.8714 | 2.7813 | 0.088438 | -0.0016652 | 0.090103 | 2.841 | 2.772 | 0.058 | -0.011 | 0.069
1 | 130 | 88 | 2.7843 | -89.7485 | -0.46512 | 0.1604 | 0.29062 | 0.2345 | 96 |  |  | 右 |  | 下 | 2.9138 | 2.8048 | 0.13084 | 0.021802 | 0.10903 | 2.84 | 2.801 | 0.057 | 0.018 | 0.039
1 | 145 | 88 | 2.7789 | -89.7033 | -0.56497 | 0.15402 | 0.32405 | 0.23945 | 85 |  | 中心 |  | 中心 |  | 2.783 |  |  |  |  | 2.783
1 | 150 | 88 | 2.7776 | -89.6878 | -0.5743 | 0.17545 | 0.25468 | 0.23503 | 90
1 | 95 | 54 | 5.0651 | -89.9427 | 0.07323 | 11.6439 | 11.804 | 5.7018 | 176
1 | 95 | 54.5 | 4.9066 | -90.0358 | -0.047917 | 17.0583 | 17.0612 | 6.1451 | 184
1 | 95 | 55 | 3.6143 | -89.9407 | -0.087392 | 0.26668 | 0.28555 | 9.3579 | 55
1 | 95 | 55.5 | 2.9138 | -89.8437 | -0.26411 | 0.38773 | 0.3156 | 0.61847 | 74 | 左下
1 | 95 | 56 | 2.8736 | -89.8325 | -0.28332 | 0.31059 | 0.256 | 0.40686 | 71
1 | 95 | 56.5 | 2.8502 | -89.8375 | -0.28025 | 0.27517 | 0.27431 | 0.34055 | 82
1 | 95 | 57 | 2.8341 | -89.8318 | -0.28247 | 0.30781 | 0.22321 | 0.29931 | 83
1 | 95 | 57.5 | 2.8235 | -89.8426 | -0.27146 | 0.2247 | 0.27325 | 0.2686 | 90
1 | 95 | 58 | 2.8171 | -89.8367 | -0.2857 | 0.24881 | 0.22366 | 0.25524 | 89
1 | 95 | 58.5 | 2.8127 | -89.8365 | -0.27651 | 0.21775 | 0.25449 | 0.2457 | 90
1 | 95 | 59 | 2.8088 | -89.8267 | -0.28895 | 0.23415 | 0.26289 | 0.23925 | 88
1 | 95 | 59.5 | 2.8064 | -89.8282 | -0.29834 | 0.2249 | 0.28986 | 0.23184 | 86
1 | 95 | 60 | 2.8051 | -89.8235 | -0.29357 | 0.19248 | 0.26425 | 0.22546 | 91
1 | 95 | 60.5 | 2.8048 | -89.829 | -0.29828 | 0.24471 | 0.20042 | 0.22001 | 92
1 | 95 | 61 | 2.8053 | -89.8216 | -0.30685 | 0.23174 | 0.2007 | 0.22337 | 92
1 | 95 | 61.5 | 2.8063 | -89.8183 | -0.31823 | 0.19298 | 0.24784 | 0.22248 | 91
1 | 95 | 62 | 2.8076 | -89.807 | -0.33375 | 0.21563 | 0.2372 | 0.21928 | 91
1 | 95 | 62.5 | 2.8082 | -89.8077 | -0.34103 | 0.18756 | 0.26691 | 0.22322 | 96
1 | 95 | 63 | 2.8086 | -89.8068 | -0.32912 | 0.1944 | 0.23714 | 0.22562 | 88
1 | 95 | 63.5 | 2.8091 | -89.8118 | -0.33686 | 0.19216 | 0.23374 | 0.22403 | 91
1 | 95 | 64 | 2.8098 | -89.7951 | -0.36408 | 0.21326 | 0.23235 | 0.22691 | 89
1 | 95 | 64.5 | 2.8104 | -89.7952 | -0.36578 | 0.21029 | 0.21222 | 0.22554 | 88
1 | 95 | 65 | 2.8108 | -89.7853 | -0.38041 | 0.24094 | 0.21408 | 0.2206 | 92
1 | 95 | 65.5 | 2.8105 | -89.7995 | -0.37748 | 0.22629 | 0.23538 | 0.22831 | 106
1 | 95 | 66 | 2.811 | -89.7842 | -0.38997 | 0.20729 | 0.24921 | 0.23191 | 100
1 | 95 | 66.5 | 2.8105 | -89.7795 | -0.38845 | 0.22378 | 0.20334 | 0.22656 | 94
1 | 95 | 67 | 2.81 | -89.7671 | -0.41558 | 0.20351 | 0.25207 | 0.22527 | 93
1 | 95 | 67.5 | 2.8104 | -89.7798 | -0.39156 | 0.19873 | 0.27435 | 0.23195 | 85
1 | 95 | 68 | 2.8115 | -89.7657 | -0.42333 | 0.1869 | 0.27387 | 0.22596 | 98
1 | 95 | 68.5 | 2.8111 | -89.7566 | -0.42668 | 0.20948 | 0.27968 | 0.22903 | 89
1 | 95 | 123 | 5.1003 | 135.3497 | 0.08637 | 0.011952 | -0.21054 | 2.1389 | 261
1 | 95 | 122.5 | 5.0794 | 88.1051 | -0.007568 | 35.1044 | 34.9926 | 12.5537 | 365
1 | 95 | 122 | 3.708 | 89.9685 | -0.060269 | 19.3113 | 18.776 | 6.8825 | 174
1 | 95 | 121.5 | 3.0197 | 90.0761 | -0.14268 | 5.4553 | 5.4495 | 6.9909 | 123
1 | 95 | 121 | 2.8714 | 90.0921 | -0.12579 | 0.27379 | 0.17201 | 0.27779 | 99 | 左上
1 | 95 | 120.5 | 2.8341 | 90.0855 | -0.13333 | 0.30311 | 0.12023 | 0.2466 | 88
1 | 95 | 120 | 2.8079 | 90.0897 | -0.1286 | 0.1992 | 0.11629 | 0.21307 | 102
1 | 95 | 119.5 | 2.7932 | 90.1062 | -0.16169 | 0.071102 | -0.044618 | 0.18519 | 88
1 | 95 | 119 | 2.7859 | -89.9041 | -0.13792 | 0.046622 | 0.16146 | 0.20541 | 85
1 | 95 | 118.5 | 2.7832 | -89.901 | -0.14323 | 0.14537 | 0.17092 | 0.21899 | 91
1 | 95 | 118 | 2.7837 | -89.8907 | -0.16394 | 0.18457 | 0.23244 | 0.23208 | 82
1 | 95 | 117.5 | 2.7841 | -89.8954 | -0.16981 | 0.17714 | 0.24615 | 0.23419 | 85
1 | 95 | 117 | 2.7852 | -89.8817 | -0.18768 | 0.17695 | 0.31113 | 0.23777 | 87
1 | 95 | 116.5 | 2.7859 | -89.8812 | -0.16669 | 0.19084 | 0.27355 | 0.23773 | 83
1 | 95 | 116 | 2.7863 | -89.8723 | -0.19326 | 0.16666 | 0.29249 | 0.23152 | 81
1 | 95 | 115.5 | 2.7866 | -89.8848 | -0.19613 | 0.19691 | 0.24416 | 0.23004 | 91
1 | 95 | 115 | 2.7867 | -89.8786 | -0.20961 | 0.17904 | 0.26782 | 0.22999 | 82
1 | 95 | 114.5 | 2.7867 | -89.8732 | -0.20488 | 0.18218 | 0.26138 | 0.22989 | 87
1 | 95 | 114 | 2.7862 | -89.8679 | -0.21625 | 0.16391 | 0.25796 | 0.22579 | 90
1 | 95 | 113.5 | 2.7864 | -89.8446 | -0.23878 | 0.18323 | 0.25882 | 0.22876 | 85
1 | 95 | 113 | 2.7857 | -89.8524 | -0.2507 | 0.17777 | 0.23449 | 0.22873 | 82
1 | 95 | 112.5 | 2.7851 | -89.8478 | -0.2454 | 0.19622 | 0.22301 | 0.22645 | 87
1 | 95 | 112 | 2.7848 | -89.8422 | -0.25951 | 0.16249 | 0.27023 | 0.22174 | 82
1 | 95 | 111.5 | 2.7848 | -89.8508 | -0.25435 | 0.19291 | 0.23083 | 0.22646 | 85
1 | 95 | 111 | 2.7844 | -89.8409 | -0.26533 | 0.20622 | 0.26334 | 0.23485 | 92
1 | 95 | 110.5 | 2.784 | -89.836 | -0.25577 | 0.19326 | 0.24313 | 0.22685 | 82
1 | 95 | 110 | 2.7835 | -89.8438 | -0.26721 | 0.1888 | 0.23512 | 0.22603 | 84
1 | 95 | 109.5 | 2.7826 | -89.8316 | -0.27616 | 0.18335 | 0.25832 | 0.23188 | 87
1 | 95 | 109 | 2.7818 | -89.8285 | -0.28924 | 0.15567 | 0.26449 | 0.22412 | 93
1 | 95 | 108.5 | 2.7813 | -89.8244 | -0.31984 | 0.18814 | 0.23548 | 0.22375 | 95
1 | 130 | 54 | 5.0568 | -89.8453 | -0.020637 | 11.6787 | 11.717 | 5.5914 | 155
1 | 130 | 54.5 | 4.5557 | -89.917 | -0.1817 | 13.9398 | 14.0415 | 8.9138 | 139
1 | 130 | 55 | 3.3682 | -89.6968 | -0.61184 | 0.46388 | 0.15959 | 7.1794 | 58
1 | 130 | 55.5 | 2.9225 | -89.543 | -0.87114 | 0.31016 | 0.31098 | 0.56166 | 85 | 中下
1 | 130 | 56 | 2.8846 | -89.5494 | -0.87196 | 0.30116 | 0.25935 | 0.42931 | 92
1 | 130 | 56.5 | 2.8574 | -89.5176 | -0.91922 | 0.2946 | 0.27761 | 0.35952 | 93
1 | 130 | 57 | 2.838 | -89.5284 | -0.89014 | 0.24355 | 0.24579 | 0.32126 | 89
1 | 130 | 57.5 | 2.8247 | -89.5213 | -0.92571 | 0.21585 | 0.26816 | 0.28654 | 92
1 | 130 | 58 | 2.8162 | -89.5357 | -0.89366 | 0.19589 | 0.27871 | 0.26313 | 95
1 | 130 | 58.5 | 2.8098 | -89.5286 | -0.89179 | 0.22464 | 0.2808 | 0.24949 | 98
1 | 130 | 59 | 2.8058 | -89.5172 | -0.93001 | 0.20772 | 0.30497 | 0.24309 | 89
1 | 130 | 59.5 | 2.8026 | -89.5407 | -0.88578 | 0.23514 | 0.23574 | 0.23553 | 87
1 | 130 | 60 | 2.8005 | -89.5447 | -0.88567 | 0.16136 | 0.27708 | 0.22861 | 93
1 | 130 | 60.5 | 2.8003 | -89.5348 | -0.87702 | 0.17074 | 0.25048 | 0.22729 | 98
1 | 130 | 61 | 2.8007 | -89.537 | -0.88684 | 0.20836 | 0.23381 | 0.21694 | 89
1 | 130 | 61.5 | 2.8015 | -89.5454 | -0.8687 | 0.2021 | 0.21532 | 0.21738 | 96
1 | 130 | 62 | 2.802 | -89.542 | -0.86982 | 0.21018 | 0.2214 | 0.22015 | 96
1 | 130 | 62.5 | 2.8027 | -89.5563 | -0.86569 | 0.18843 | 0.25361 | 0.21788 | 94
1 | 130 | 63 | 2.8036 | -89.5607 | -0.84223 | 0.1953 | 0.23297 | 0.22018 | 92
1 | 130 | 63.5 | 2.8047 | -89.5554 | -0.85676 | 0.19697 | 0.2489 | 0.22026 | 95
1 | 130 | 64 | 2.8053 | -89.5577 | -0.83867 | 0.20043 | 0.24662 | 0.226 | 98
1 | 130 | 64.5 | 2.8057 | -89.573 | -0.83199 | 0.18954 | 0.25515 | 0.22059 | 93
1 | 130 | 65 | 2.8063 | -89.562 | -0.82693 | 0.18719 | 0.25956 | 0.22665 | 87
1 | 130 | 65.5 | 2.8067 | -89.5891 | -0.79734 | 0.18573 | 0.27443 | 0.22474 | 96
1 | 130 | 66 | 2.8072 | -89.583 | -0.79136 | 0.20724 | 0.23431 | 0.22841 | 97
1 | 130 | 66.5 | 2.8067 | -89.5799 | -0.8091 | 0.18841 | 0.27194 | 0.23066 | 90
1 | 130 | 67 | 2.8068 | -89.5921 | -0.7822 | 0.20316 | 0.26989 | 0.22436 | 92
1 | 130 | 67.5 | 2.8065 | -89.5883 | -0.77497 | 0.19714 | 0.25538 | 0.22302 | 97
1 | 130 | 68 | 2.8063 | -89.6011 | -0.75355 | 0.22016 | 0.20432 | 0.22865 | 91
1 | 130 | 68.5 | 2.8059 | -89.6023 | -0.78022 | 0.18963 | 0.22164 | 0.22703 | 97
1 | 130 | 123 | 5.1018 | 135.2126 | 0.10078 | 0.01599 | -0.13244 | 1.1923 | 218
1 | 130 | 122.5 | 4.1627 | 89.9299 | 0.12852 | 1.5617 | 1.6368 | 12.7703 | 78
1 | 130 | 122 | 3.9612 | 89.7687 | 0.25587 | 21.0235 | 20.8112 | 7.3859 | 182
1 | 130 | 121.5 | 3.1175 | 89.8428 | 0.27649 | 7.4897 | 7.2684 | 6.9146 | 129
1 | 130 | 121 | 2.9088 | 89.8965 | 0.26118 | 0.43227 | 0.35461 | 0.36038 | 103 | 中上
1 | 130 | 120.5 | 2.8574 | 89.8976 | 0.25686 | 0.35925 | 0.31257 | 0.32955 | 94
1 | 130 | 120 | 2.822 | 89.8961 | 0.24405 | 0.30574 | 0.27535 | 0.26668 | 102
1 | 130 | 119.5 | 2.7992 | 89.9194 | 0.22878 | 0.15634 | 0.10873 | 0.20339 | 92
1 | 130 | 119 | 2.7861 | -90.0826 | 0.21758 | 0.018142 | 0.022503 | 0.19193 | 107
1 | 130 | 118.5 | 2.7804 | -90.095 | 0.2101 | 0.088558 | 0.16478 | 0.20629 | 95
1 | 130 | 118 | 2.7783 | -90.0669 | 0.18095 | 0.15215 | 0.22881 | 0.21639 | 92
1 | 130 | 117.5 | 2.7779 | -90.0559 | 0.16397 | 0.15842 | 0.27559 | 0.22992 | 94
1 | 130 | 117 | 2.7787 | -90.0599 | 0.15205 | 0.18717 | 0.24878 | 0.22831 | 91
1 | 130 | 116.5 | 2.779 | -90.0511 | 0.12853 | 0.14198 | 0.30268 | 0.23058 | 87
1 | 130 | 116 | 2.779 | -90.0445 | 0.13046 | 0.165 | 0.28119 | 0.23521 | 82
1 | 130 | 115.5 | 2.7788 | -90.0502 | 0.13286 | 0.15886 | 0.27622 | 0.2277 | 82
1 | 130 | 115 | 2.7784 | -90.0304 | 0.10677 | 0.181 | 0.25229 | 0.22745 | 81
1 | 130 | 114.5 | 2.7778 | -90.0171 | 0.078045 | 0.18038 | 0.23736 | 0.22727 | 80
1 | 130 | 114 | 2.7776 | -90.0099 | 0.072234 | 0.15133 | 0.26678 | 0.22527 | 82
1 | 130 | 113.5 | 2.7769 | -90.0083 | 0.062616 | 0.18956 | 0.27696 | 0.22962 | 89
1 | 130 | 113 | 2.7764 | -90.0065 | 0.056968 | 0.21085 | 0.23066 | 0.22606 | 79
1 | 130 | 112.5 | 2.7754 | -89.9874 | 0.043058 | 0.17178 | 0.25906 | 0.23301 | 85
1 | 130 | 112 | 2.775 | -89.9875 | 0.033905 | 0.18331 | 0.22601 | 0.22632 | 100
1 | 130 | 111.5 | 2.7743 | -89.9823 | 0.024099 | 0.20451 | 0.21518 | 0.22473 | 94
1 | 130 | 111 | 2.7734 | -89.9887 | 0.019984 | 0.19305 | 0.24945 | 0.22715 | 92
1 | 130 | 110.5 | 2.7722 | -89.9794 | -0.00953 | 0.18085 | 0.24066 | 0.22281 | 88
1 | 130 | 110 | 2.7716 | -89.9717 | -0.005985 | 0.21799 | 0.24077 | 0.22352 | 96
1 | 130 | 109.5 | 2.7707 | -89.9554 | -0.026369 | 0.17608 | 0.28471 | 0.23127 | 85
1 | 130 | 109 | 2.771 | -89.9595 | -0.032839 | 0.17299 | 0.24204 | 0.23088 | 89
1 | 130 | 108.5 | 2.7703 | -89.9591 | -0.037311 | 0.18022 | 0.25764 | 0.22636 | 86
1 | 165 | 54 | 5.0581 | -89.8585 | -0.007908 | 11.8848 | 11.9365 | 5.6754 | 142
1 | 165 | 54.5 | 3.9933 | -89.7974 | -0.44871 | 0.50229 | 0.74712 | 12.0857 | 46
1 | 165 | 55 | 3.2299 | -89.5179 | -0.9312 | 0.42242 | 0.040411 | 6.6531 | 63
1 | 165 | 55.5 | 2.8718 | -89.4115 | -1.1411 | 0.24786 | 0.30006 | 0.45429 | 84 | 右下
1 | 165 | 56 | 2.8485 | -89.4192 | -1.1284 | 0.23922 | 0.28988 | 0.3219 | 88
1 | 165 | 56.5 | 2.8362 | -89.4196 | -1.1416 | 0.24676 | 0.25808 | 0.27971 | 94
1 | 165 | 57 | 2.827 | -89.4303 | -1.1274 | 0.23022 | 0.24854 | 0.27043 | 92
1 | 165 | 57.5 | 2.8201 | -89.4354 | -1.0983 | 0.17124 | 0.30437 | 0.25785 | 103
1 | 165 | 58 | 2.8153 | -89.4421 | -1.0802 | 0.21375 | 0.26064 | 0.24834 | 108
1 | 165 | 58.5 | 2.8114 | -89.4509 | -1.0703 | 0.20491 | 0.28015 | 0.24493 | 93
1 | 165 | 59 | 2.808 | -89.4629 | -1.0476 | 0.18285 | 0.27535 | 0.24127 | 100
1 | 165 | 59.5 | 2.805 | -89.4458 | -1.0619 | 0.21674 | 0.27033 | 0.23847 | 90
1 | 165 | 60 | 2.8024 | -89.4569 | -1.0489 | 0.20973 | 0.27716 | 0.23539 | 106
1 | 165 | 60.5 | 2.8012 | -89.4774 | -1.0209 | 0.20816 | 0.27067 | 0.23068 | 89
1 | 165 | 61 | 2.8005 | -89.4815 | -1.0122 | 0.20737 | 0.27924 | 0.2336 | 95
1 | 165 | 61.5 | 2.8 | -89.4779 | -1.0059 | 0.21147 | 0.25566 | 0.22589 | 92
1 | 165 | 62 | 2.8003 | -89.4956 | -0.99364 | 0.20713 | 0.23209 | 0.22843 | 105
1 | 165 | 62.5 | 2.8001 | -89.4883 | -0.98389 | 0.20522 | 0.24621 | 0.22189 | 103
1 | 165 | 63 | 2.8005 | -89.5119 | -0.96242 | 0.21397 | 0.28374 | 0.23175 | 102
1 | 165 | 63.5 | 2.8007 | -89.4942 | -0.96476 | 0.21752 | 0.22461 | 0.22441 | 96
1 | 165 | 64 | 2.8005 | -89.5136 | -0.95766 | 0.20786 | 0.23445 | 0.22701 | 91
1 | 165 | 64.5 | 2.8005 | -89.516 | -0.94713 | 0.19266 | 0.29431 | 0.22823 | 98
1 | 165 | 65 | 2.8005 | -89.5007 | -0.95217 | 0.21937 | 0.26666 | 0.22847 | 98
1 | 165 | 65.5 | 2.8009 | -89.5149 | -0.93497 | 0.17011 | 0.29367 | 0.23059 | 93
1 | 165 | 66 | 2.8004 | -89.5097 | -0.94162 | 0.19213 | 0.26104 | 0.22912 | 94
1 | 165 | 66.5 | 2.8005 | -89.5252 | -0.91999 | 0.18537 | 0.26311 | 0.23042 | 98
1 | 165 | 67 | 2.8001 | -89.5291 | -0.92676 | 0.20729 | 0.22765 | 0.23084 | 95
1 | 165 | 67.5 | 2.8001 | -89.538 | -0.89863 | 0.20924 | 0.26112 | 0.23126 | 109
1 | 165 | 68 | 2.7994 | -89.5325 | -0.89623 | 0.18575 | 0.27825 | 0.23389 | 97
1 | 165 | 68.5 | 2.7991 | -89.5505 | -0.8735 | 0.21217 | 0.28477 | 0.2303 | 91
1 | 165 | 123 | 5.1026 | 135.1809 | 0.071611 | 0.067483 | -0.10805 | 0.75046 | 220
1 | 165 | 122.5 | 4.4074 | 89.4716 | 0.23981 | 0.58469 | 0.67057 | 11.8326 | 66
1 | 165 | 122 | 4.0045 | 89.6397 | 0.50189 | 21.9453 | 22.1718 | 8.0596 | 157
1 | 165 | 121.5 | 2.9691 | 89.6907 | 0.56993 | 3.9186 | 3.8886 | 7.0382 | 102
1 | 165 | 121 | 2.8633 | 89.7289 | 0.59388 | 0.09533 | 0.067587 | 0.24286 | 95 | 右上
1 | 165 | 120.5 | 2.8322 | 89.723 | 0.60823 | 0.044568 | 0.036331 | 0.2132 | 96
1 | 165 | 120 | 2.8106 | 89.7205 | 0.5971 | 0.069747 | 0.004129 | 0.18256 | 102
1 | 165 | 119.5 | 2.799 | -90.2761 | 0.58649 | 0.068871 | 0.047025 | 0.18868 | 104
1 | 165 | 119 | 2.7926 | -90.268 | 0.58377 | 0.092724 | 0.15658 | 0.20893 | 91
1 | 165 | 118.5 | 2.7907 | -90.253 | 0.55757 | 0.14538 | 0.20756 | 0.22552 | 96
1 | 165 | 118 | 2.7903 | -90.2546 | 0.53187 | 0.20224 | 0.24799 | 0.23546 | 88
1 | 165 | 117.5 | 2.7902 | -90.2482 | 0.5372 | 0.20181 | 0.2331 | 0.23282 | 92
1 | 165 | 117 | 2.79 | -90.2395 | 0.5254 | 0.21013 | 0.2171 | 0.23522 | 95
1 | 165 | 116.5 | 2.7901 | -90.2317 | 0.50509 | 0.18927 | 0.25266 | 0.23003 | 109
1 | 165 | 116 | 2.7894 | -90.2333 | 0.5124 | 0.21147 | 0.22051 | 0.23303 | 93
1 | 165 | 115.5 | 2.7886 | -90.2325 | 0.48814 | 0.21004 | 0.22642 | 0.22975 | 94
1 | 165 | 115 | 2.7872 | -90.2174 | 0.45947 | 0.18862 | 0.23262 | 0.22445 | 93
1 | 165 | 114.5 | 2.7862 | -90.2053 | 0.44609 | 0.198 | 0.24654 | 0.22576 | 99
1 | 165 | 114 | 2.7853 | -90.2063 | 0.43939 | 0.19416 | 0.24345 | 0.22943 | 101
1 | 165 | 113.5 | 2.7841 | -90.1716 | 0.40376 | 0.18395 | 0.25502 | 0.22727 | 92
1 | 165 | 113 | 2.7833 | -90.1812 | 0.39972 | 0.17243 | 0.29447 | 0.22636 | 94
1 | 165 | 112.5 | 2.7825 | -90.171 | 0.37289 | 0.22298 | 0.21093 | 0.22799 | 93
1 | 165 | 112 | 2.7813 | -90.164 | 0.36213 | 0.24109 | 0.2126 | 0.22789 | 88
1 | 165 | 111.5 | 2.7808 | -90.1584 | 0.34529 | 0.20384 | 0.22022 | 0.22934 | 101
1 | 165 | 111 | 2.7801 | -90.1513 | 0.33148 | 0.24154 | 0.20766 | 0.22662 | 94
1 | 165 | 110.5 | 2.7791 | -90.1415 | 0.32181 | 0.20544 | 0.23271 | 0.22589 | 91
1 | 165 | 110 | 2.7782 | -90.1314 | 0.28657 | 0.23676 | 0.24699 | 0.23341 | 93
1 | 165 | 109.5 | 2.7778 | -90.1188 | 0.27696 | 0.2446 | 0.23572 | 0.22598 | 95
1 | 165 | 109 | 2.7777 | -90.1139 | 0.27964 | 0.24351 | 0.20557 | 0.23089 | 87
1 | 165 | 108.5 | 2.777 | -90.11 | 0.25075 | 0.20598 | 0.23011 | 0.23259 | 91
[LCD Data End]
[LCD Stats]
Parameters | cell gap (um) | top R/D (? | twist (? | top pre-tilt (? | bottom pre-tilt (?
Average | 2.9627 | -66.7384 | -0.28566 | 1.1736 | 1.2031
Standard Deviation | 0.52122 | 61.6159 | 0.49876 | 4.2248 | 4.2046
Maximum Value | 5.1026 | 135.3497 | 0.60823 | 35.1044 | 34.9926
Minimum Value | 2.7703 | -90.2761 | -1.1416 | 0.011952 | -0.21054
Range (Max-Min) | 2.3323 | 225.6259 | 1.7499 | 35.0924 | 35.2032
[LCD Stats End]
[General]
Panel Mapper=""
LCDView=""
Sample Information=""
[Fitting Parameters]
Max Iterations=400
Target Tolerance=0.0001000000
[Simulation Parameters]
Layer Count Type=0
Number of Layers=50
[Refractive Index]
NoA=1.4877000000
NoB=0.0000000000
NoC=0.0000000000
NeA=1.6028000000
NeB=0.0000000000
NeC=0.0000000000
[Initial LCD Parameters]
Corrected Rubbing Direction=-89.758621
Cell Gap=2.7789648276
Rubbing Direction=-89.7586207677
Twist Angle=-0.4454964006
Front Pre-Tilt=0.1856905984
Back Pre-Tilt=0.2333841598
CellGapInclude=TRUE
RubDirInclude=TRUE
TwistInclude=TRUE
FrontTiltInclude=TRUE
RearTiltInclude=TRUE
Pretilt coupling=0
[Vision]
Angle=0.000000
OffsetX=0.000000
OffsetY=0.000000
Panel Size=0.000000
Coordinates=0
[Cplate cluster]
first Cplate Rth=0.00000000
Second Cplate Rth=0.00000000
Navg=1.50000000
Dn=0.01000000
Side=Color Filter Facing Up
[Elastic Continuum Thry]
Use ECT=FALSE
K11=0.00000000
K22=0.00000000
K33=0.00000000
Use File=FALSE
Director File=""
[Data Point Rejection]
Remove zero vals=FALSE
Threshold=0.00000000
[CG correction]
Aux A=1.00000000
Aux B=0.00000000
[MVA Options]
Use MVA Fitting=FALSE
Percentage PT=0.00000000
zones=<size(s)=0>
Use Fresnel=FALSE
correction A=0.00000000
correction B=0.00000000
correction C=0.00000000
[Cell Gap Limits]
Max Value=0.00000000
Min Value=0.00000000
Check CG=FALSE
[RD Limits]
Max Value=0.00000000
Min Value=0.00000000
Check RD=FALSE
[Twist Limits]
Max Value=0.00000000
Min Value=0.00000000
Check Twist=FALSE
[FPT Limits]
Max Value=0.00000000
Min Value=0.00000000
Check FPT=FALSE
[BPT Limits]
Max Value=0.00000000
Min Value=0.00000000
Check BPT=FALSE